## Parameter list (2.0)
Point No. 5
[7 empty] | TIME SELECTION - FILTER | [5 empty] | NO TIME FILTER
[7 empty] | Hour | Shift | Day | Week | Month | Year
[7 empty] | 1 | 8 | 24 | 168 | 672/696/720/744 | 8760
Requirement Sheet | S. No. |  | PARAMETERS | DESCRIPTION | SOURCE_1 | SOURCE_2 | 3600 s | 28800 s | 86400 s | 604800 s | 28/29/30/31 D | 365 D | Cumulative value (absolute no.) | TAGS
| 1 | Tile | Machine status | Run/Stop/Fault | Machine | PLC | ON/OFF/IDLE Status | [5 empty] | NA
Same as POC | 2 | Tile & graph | Machine utility (%) |  | PLC (Operator) | LOG | same for hour | % machine utility during the shift-time | same for day | same for week | same for month | same for year | Overall machine utilization |  | *Customer will give machine available time as input - 'X' mins per shift
| 3 | Tile & graph | Production Quantity (kg or Ton) |  | PLC | LOG | same for hour | Castings processed during shift-time | same for day | same for week | same for month | same for year | Overall total production quantity
| 4 | Tile & graph | Energy consumption (kW) | Aggregation of logged Real time value for the given duration | METER | PLC/LOG | same for hour | Energy used per shift | same for day | same for week | same for month | same for year | Overall total energy consumed
NEW PARAMETER | 5 | Tile &graph | ENERGY PER CASTING (kWh/kg) |  | METER and PLC (Operator) | LOG | same for hour | Energy for blasting process per casting for a shift period | same for day | same for week | same for month | same for year | Overall energy used for making a per kg cast
Same as POC | 6 | Tile | Tot. Blast time | Sum of Blasting time during the given period | PLC (Operator) | LOG | same for hour | Sum of blast duration during the shift | same for day | same for week | same for month | same for year | Overall Total Blast duration
Same as POC | 7 | Tile | Effective Shots Usage (Index) |  | PLC (Operator) | LOG | Absolute Value (no time constraints) | [5 empty] | NA
Same as POC | 8 | Tile and graph | Average Shot refill time |  | PLC (Operator) | LOG | same for hour | Average time of shot refill during the shift | same for day | same for week | same for month | same for year | Overall Average Shot Refill time
NEW PARAMETER | 9 |  | CHAMBER-WISE UTILISATION (Pt. No. 2) |  | PLC (Operator) | LOG | same for hour | % machine utility during the shift-time | same for day | same for week | same for month | same for year | Overall machine utilization-1
NEW PARAMETER |  |  |  |  | PLC (Operator) | LOG | [6 empty] | Overall machine utilization-2
Same as POC | 10 | Tile | CYCLE COUNT | No. of cycle counts completed (*Adjusted to Reblast instances) | PLC | LOG | same for hour | Cycle count during the shift | same for day | same for week | same for month | same for year | Overall Average Cycle count
Same as POC | 11 | Tile | LAST REFILL TIME | Time when Shots filled last time | PLC | PLC | Absolute Value (no time constraints)
NEW PARAMETER | 12 | pop up | POP-UP FOR REGULAR MAINTENANCE (Pt. No. 14) | Time gap of components inspection is fixed (based on Blasting time) by OEM (SSEC) - | PLC | LOG | NA
| 13 | Tile & graph | AMPS - VALUE | Ampere values of the running motors to be displayed on the screen against 'Equipment dashboard' | METER | LOG | NA
NEW PARAMETER | 14 | pop up | In Hmi - Consumables Spare-life based on blasting time. (No. 12) Input should be given by operator in HMI. | Operator registers the Spare change instance at HMI | HMI/PLC | PLC/LOG | Pop_up message as a reminder for maintenance check
Same as POC | 15 |  | REWORK* | Reblast instance is registered by clicking the button (same as POC). Report for reblasting. | HMI/PLC | LOG
𝑀𝑎𝑐ℎ𝑖𝑛𝑒 𝑈𝑡𝑖𝑙𝑖𝑡𝑦 (%)=Σ 𝐵𝑙𝑎𝑠𝑡𝑖𝑛𝑔 𝑡𝑖𝑚𝑒/𝐴𝑣𝑎𝑖𝑙𝑎𝑏𝑙𝑒 𝑀𝑎𝑐ℎ𝑖𝑛𝑒 𝑡𝑖𝑚𝑒×100
(for given duration)
Σ 𝐶𝑎𝑠𝑡𝑖𝑛𝑔 𝑤𝑒𝑖𝑔ℎ𝑡 (𝑘𝑔) (for given duration)
𝐴𝑣𝑒𝑟𝑎𝑔𝑒 𝑆ℎ𝑜𝑡𝑠 𝑅𝑒𝑓𝑖𝑙𝑙 𝑡𝑖𝑚𝑒
=Σ 𝐷𝑖𝑓𝑓𝑒𝑟𝑒𝑛𝑐𝑒 𝑖𝑛 𝑣𝑎𝑙𝑢𝑒 𝑢𝑝𝑑𝑎𝑡𝑒 𝑡𝑖𝑚𝑒 𝑠𝑡𝑎𝑚𝑝𝑠/𝑁𝑜. 𝑜𝑓 𝑢𝑝𝑑𝑎𝑡𝑒 𝑖𝑛𝑠𝑡𝑎𝑛𝑐𝑒𝑠
Effective Shots Usage Index =
Effective Shots Usage Index =
𝐿𝑎𝑠𝑡 𝑆ℎ𝑜𝑡𝑠 𝑟𝑒𝑓𝑖𝑙𝑙 𝑞𝑢𝑎𝑛𝑡𝑖𝑡𝑦 (𝑘𝑔)/𝑇𝑜𝑡𝑎𝑙 𝑐𝑎𝑠𝑡𝑖𝑛𝑔 𝑜𝑢𝑡𝑝𝑢𝑡 (𝑘𝑔)
𝐸𝑛𝑒𝑟𝑔𝑦 𝑢𝑠𝑒𝑑 𝑝𝑒𝑟 𝑐𝑎𝑠𝑡𝑖𝑛𝑔=Σ 𝐸𝑛𝑒𝑟𝑔𝑦 𝑢𝑠𝑒𝑑 𝑑𝑢𝑟𝑖𝑛𝑔 𝑏𝑙𝑎𝑠𝑡𝑖𝑛𝑔 𝑝𝑟𝑜𝑐𝑒𝑠𝑠 (𝑘𝑊ℎ)/𝑊𝑒𝑖𝑔ℎ𝑡 𝑜𝑓 𝑐𝑎𝑠𝑡𝑖𝑛𝑔 𝑜𝑢𝑡𝑝𝑢𝑡 𝑑𝑢𝑟𝑖𝑛𝑔 𝑡ℎ𝑒 𝑠𝑎𝑚𝑒 𝑝𝑒𝑟𝑖𝑜𝑑 (𝑘𝑔)